## BEEE
Lesson Planning
Name of Faculty :Mr. Gulshan Kumar
Dicipline : Mechanical Engg.
Subject : BEEE
Lesson Plan duration : 48 Hours
Work load (Lecture/Practical) per week (in hours): 3L and 4P
Week | Theory |  | Teacher sign | Practical |  | Teacher sign | HOD sign
| Lecture day | Topic(Including assignment/test) |  | Practical Day | Topic
1 |  | UNIT - 01 Application and Advantage of Electricity |  |  | 1. Connection of a three-phase motor and starter with fuses and reversing of direction of rotation.
| 1 | Difference between ac and dc,
| 2 | various applications of electricity
| 3 | advantages of electrical energy over other types of energy
2 | 4 | Assignment-I |  |  | 2. Connection of a single-phase induction motor with supply and reversing of its direction of rotation.
UNIT-02 Basic Electrical Quantities
| 5 | Definition of voltage, current,
| 6 | power and energy with their units
3 | 7 | name of instruments used for measuring above quantities |  |  | 3. Troubleshooting in domestic wiring system, including distribution board.
| 8 | connection of these instruments in an electric circuit
UNIT-03 AC Fundamentals
| 9 | Electromagnetic induction-Faraday’s Laws,
4 | 10 | Lenz’s Law; Fleming’s rules |  |  | 4. Connection and reading of an electric energy meter.
| 11 | Principles of a.c. Circuits; Alternating emf,
| 12 | Definition of cycle, frequency
5 | 13 | Sessional-I |  |  | 5. Use of ammeter, voltmeter, wattmeter, and multi-meter.
UNIT-04 Transformers
| 14 | Working principle and construction of single phase transformer
| 15 | ransformer ratio, emf equation,
6 | 16 | losses and efficiency, cooling of transformers, |  |  | 6. Measurement of power and power factor in a given single phase ac circuit.
| 17 | Assignment-II
UNIT-05 Distribution System
| 18 | PTM
7 | 19 | Difference between high and low voltage distribution system |  |  | 7. Study of different types of fuses, MCBs and ELCBs
| 20 | identification of three-phase wires,
| 21 | neutral wire and earth wire in a low voltage distribution system
Identification of voltages between phases
8 |  | UNIT-06 Electric Motor |  |  | 8. Study of zener diode as a constant voltage source and to draw its V-I characteristics.
| 22 | Description and applications of single-phase
| 23 | three-phase motors.
| 24 | Connection and starting of three-phase
9 | 25 | induction motors by star-delta starter |  |  | 9. Study of earthing practices.
| 26 | Changing direction of
| 27 | rotation of a given 3 phase induction motor
10 | 28 | Sessional-II |  |  | 10. To draw V-I characteristics of a (i) NPN transistor (ii) thyristor (SCR).
| 29 | Totally enclosed submersible and flame
UNIT-07 Domestic Installation
| 30 | Revision
11 | 31 | Distinction between light-fan circuit |  |  | 11. Study of construction and working of a (i) stepper motor and (ii) servo motor
| 32 | single phase power circuit, sub-circuits
| 33 | PTM
12 | 34 | parts of domestic electrical installation
| 35 | Identification of wiring systems
| 36 | Common safety measures and earthing
UNIT-08 Electrical Safety
13 | 37 | Electrical shock and precautions against shock |  |  | Revision
| 38 | Assignment-III
| 39 | treatment of electric shock,
| 40 | selection and application,
| 41 | concept of earthing and various
| 42 | applications of MCBs and ELCBs
15 | 43 | applications and limitations of gas turbine |  |  | Revision
| 44 | UNIT-09 Basic Electronics
| 45 | Basic idea of semiconductors
16 | 46 | PNP and NPN, their characteristics and uses |  |  | Revision
| 47 | Characteristics and applications
| 48 | characteristics and applications of stepper motors