Lesson Plan

Name of Faculty       :-                       DHARAM PAL

Designation		:- 		SR. LECTURER

Discipline                   :-                      ELECTRICAL ENGINEERING

Semester                     :-	           6th

Subject                        :   INSTALLATION AND MAINTENANCE OF ELECTRICAL EQUIPMENT   Lesson Plan Duration:- 15 Week

WORK LOAD (LECTURE/PRACTICAL) PER WEEK (IN HOURS):-PRACTICAL-04

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  |  |  | 1st | Practical No.-1 Write IE rules related to safety and demonstrate the steps taken when a person comes in contact with a live wire. (Group-1) |
|  |  |  | 2nd | Practical No.-1 Write IE rules related to safety and demonstrate the steps taken when a person comes in contact with a live wire..(Group-II) |
| 2nd |  |  | 1st | Practical No.-2 Study of tools, accessories and instruments required during installation, maintenance and repair of electrical equipment. (Group-1) |
|  |  |  | 2nd | Practical No.-2 Study of tools, accessories and instruments required during installation, maintenance and repair of electrical equipment. (Group-II) |
| 3rd |  |  | 1st | Practical No.-3 Study the steps required for erection of steel structure along with connection of all accessories viz. jumpers, tee points, insulators, joints etc. during installation of a transmission line. (Group-1) |
|  |  |  | 2nd | Practical No.-3 Study the steps required for erection of steel structure along with connection of all accessories viz. jumpers, tee points, insulators, joints etc. during installation of a transmission line. (Group-II) |
| 4th |  |  | 1st | Practical No.-4 Measure insulation resistance of Three-phase PVC cable in a distribution board. (Group-1) |
|  |  |  | 2nd | Practical No.-4 Measure insulation resistance of Three-phase PVC cable in a distribution board. (Group-II) |
| 5th |  |  | 1st | Practical No.-5 Study of steps required for erection of distribution line along with connection of all accessories viz. jumpers, tee points, insulators, joints etc. during installation of a distribution line. (Group-1) |
|  |  |  | 2nd | Practical No.-5 Study of steps required for erection of distribution line along with connection of all accessories viz. jumpers, tee points, insulators, joints etc. during installation of a distribution line.. (Group-II) |
| 6th |  |  | 1st | Practical No.-6 Study of tests done at the time of commissioning of transmission and distribution line as per IS standards. (Group-1) |
|  |  |  | 2nd | Practical No.-6 Study of tests done at the time of commissioning of transmission and distribution line as per IS standards. (Group-II) |
| 7th |  |  | 1st | Practical No.-7 Prepare list of all electrical accessories required for installation of Pole mounted substation, Plinth mounted substation.. (Group-1) |
|  |  |  | 2nd | Practical No.-7 Prepare list of all electrical accessories required for installation of Pole mounted substation, Plinth mounted substation. (Group-II) |
| 8th |  |  | 1st | Practical No.-8 Study of various pre-installation tests as per IS standard done on following electrical equipment viz Electrical motors, Electrical Generators, Transformers and Underground cables (Group-1) |
|  |  |  | 2nd | Practical No.-8 Study of various pre-installation tests as per IS standard done on following electrical equipment viz Electrical motors, Electrical Generators, Transformers and Underground cables. (Group-II) |
| 9th |  |  | 1st | Practical No.-9 Study of various pre-commissioning tests as per IS standard done on following electrical equipment viz Electrical motors, Electrical Generators, Transformers and Underground cables. (Group-I) |
|  |  |  | 2nd | Practical No.-9 Study of various pre-commissioning tests as per IS standard done on following electrical equipment viz Electrical motors, Electrical Generators, Transformers and Underground cables. (Group-II) |
| 10th |  |  | 1st | Practical No.-10 Prepare maintenance schedule of Power transformer. (Group-I) |
|  |  |  | 2nd | Practical No.-10 Prepare maintenance schedule of Power transformer. (Group-II) |
| 11th |  |  | 1st | Practical No.-11 Prepare maintenance schedule of Distribution Transformer. (Group-I) |
|  |  |  | 2nd | Practical No.-11 Prepare maintenance schedule of Distribution Transformer.. (Group-II) |
| 12th |  |  | 1st | Practical No.-12 Prepare maintenance schedule of Motors.. (Group-I) |
|  |  |  | 2nd | Practical No.-12 Prepare maintenance schedule of Motors.. (Group-II) |
| 13th |  |  | 1st | Revision of any Practical (Group-1) |
|  |  |  | 2nd | Revision of any Practical (Group-2) |
| 14th |  |  | 1st | Revision of any Practical (Group-1) |
|  |  |  | 2nd | Revision of any Practical (Group-2) |
| 15th |  |  | 1st | Revision of any Practical (Group-1) |
|  |  |  | 2nd | Revision of any Practical (Group-2) |