Lesson Plan

Name of Faculty       :-                       DHARAM PAL

Designation		:- 		SR. LECTURER

Discipline                   :-                      ELECTRICAL ENGINEERING

Semester                     :-	           6th

Subject                        :-                   POWER  SYSTEM PROTECTION

Lesson Plan Duration:- 15 Week

WORK LOAD (LECTURE/PRACTICAL) PER WEEK (IN HOURS):-                        LECTURE-03, PRACTICAL-04

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | Introduction about the syllabus of the subject & scope of the subject. | 1st | Practical No.-1 Identify various switchgears installed in the laboratory and write their specifications. (Group-1) |
|  | 2nd | Unit-I Faults Common type of faults in both overhead and underground systems, |  |  |
|  | 3rd | Types of Symmetrical faults 3-phase to ground fault and 3-phase fault. | 2nd | Practical No.-1 Identify various switchgears installed in the laboratory and write their specifications.(Group-II) |
| 2nd | 1st | Types of unsymmetrical faults :Single line to ground fault, double line to ground fault, | 1st | Practical No.-2 Test HRC fuse by performing the load test.. (Group-1) |
|  | 2nd | line to line fault, line to line and third line to ground fault. |  |  |
|  | 3rd | Unit-II Switch Gears Definition of switchgear, Purpose of switch gear, function of switch , fuse, isolator and circuit breaker. Difference between fuse and circuit breaker. |  |  |
|  |  |  | 2nd | Practical No.-2 Test HRC fuse by performing the load test.. (Group-II) |
| 3rd | 1st | Circuit Breaker: Operating principle of circuit breaker. Arc phenomenon. | 1st | Practical No.-3 Perform the overload and short circuit test of MCB as per IS specifications. (Group-1) |
|  | 2nd | Methods of Arc extinction. Definition of Arc voltage, Restriking and Recovery voltage, Rate of rise of restriking voltage (RRRV). |  |  |
|  | 3rd | Rating of Circuit breakers: making capacity, breaking capacity, short time capacity | 2nd | Practical No.-3 Perform the overload and short circuit test of MCB as per IS specifications.. (Group-II) |
| 4th | 1st | Types of Circuit Breakers: Constructional and working of Oil circuit breakers | 1st | Practical No.-4 Plot the time-current characteristics of Kit-Kat fuse wire.. (Group-1) |
|  | 2nd | Types of Circuit Breakers: Constructional and working of Oil circuit breakers |  |  |
|  | 3rd | Types of Circuit Breakers: Constructional and working of Oil circuit breakers | 2nd | Practical No.-4 Plot the time-current characteristics of Kit-Kat fuse wire.. (Group-II) |
| 5th | 1st | Air Blast Circuit Breaker | 1st | Practical No.-5 Perform Earthing of different equipment installed in the institute viz Motors, Generators, Energy Meter, Main Distribution Board and Energy Meter Box. (Group-1) |
|  | 2nd | Air Blast Circuit Breaker, |  |  |
|  | 3rd | SF6 circuit breakers, VCB. | 2nd | Practical No.-5 Perform Earthing of different equipment installed in the institute viz Motors, Generators, Energy Meter, Main Distribution Board and Energy Meter Box. (Group-II) |
| 6th | 1st | 1st Sessional Test | 1st | Practical No.-6 Plot the time current characteristics of over current relay. (Group-1) |
|  | 2nd | 1st Sessional Test |  |  |
|  | 3rd | UNIT III Protection Devices Fuses: Properties and Characteristics of fuse, Types of Fuse: HV and LV fuses, rewire-able, cartridge, HRC. | 2nd | Practical No.-6 Plot the time current characteristics of over current relay. (Group-II) |
| 7th | 1st | Earthing: Purpose of earthing, method of earthing, Equipment earthing, Substation earthing, Methods of reducing earth resistance. | 1st | Practical No.-7 To write down specifications of Lightning arrestors installed in a substation. (Group-1) |
|  | 2nd | . Basic relay terminology- Protective relay, Relay time, Pick up, Reset |  |  |
|  | 3rd | current, current setting, Plug setting multiplier, Time setting multiplier. | 2nd | Practical No.-7 To write down specifications of Lightning arrestors installed in a substation. (Group-II) |
| 8th | 1st | Protective relays: Classification, principle of working, construction and operation of – Electromagnetic | 1st | Practical No.-8 Power measurement by using CTs and PTs. (Group-1) |
|  | 2nd | Attracted armature type, Induction) relay, |  |  |
|  | 3rd | Thermal relay. Block diagram and working of Static relay. | 2nd | Practical No.-8 Power measurement by using CTs and PTs. (Group-II) |
| 9th | 1st | i. Over-current relay: Principle, operation of instantaneous ove r current relay, Inverse definite minimum time (IDMT) over current relay. | 1st | Practical No.-9 Measurement of current on any LT line with clip meter. (Group-I) |
|  | 2nd | ii. Directional over-current: operation of Directional over-current. |  |  |
|  | 3rd | iii. Differential relay: operation of Differential relay. | 2nd | Practical No.-9 Measurement of current on any LT line with clip meter. (Group-II) |
| 10th | 1st | iv. Distance relays: Impedance relay, mho relay. | 1st | Practical No.-10 Study of different types of circuit breakers and isolators by visiting power station and to prepare detailed report. (Group-I) |
|  | 2nd | UNIT IV Protection scheme Protection for Alternator: Differential protection |  |  |
|  | 3rd | Over current, Earth fault protection scheme. | 2nd | Practical No.-10 Study of different types of circuit breakers and isolators by visiting power station and to prepare detailed report. (Group-II) |
| 11th | 1st | Protection for transformer: Buchholz protection scheme, | 1st | Practical No.-11 Prepare charts on different Generating stations in our state mentioning their locations. (Group-I) |
|  | 2nd | Differential protection scheme. |  |  |
|  | 3rd | Protection for Feeder and transmission line - time graded | 2nd | Practical No.-11 Prepare charts on different Generating stations in our state mentioning their locations. (Group-II) |
| 12th | 1st | over current protection, current graded system, | 1st | Practical No.-12 Students may be taken to various Sub-stations/Grid Stations for study the differential protection of transformer. (Group-I) |
|  | 2nd | Differential protection. |  |  |
|  | 3rd | 2nd Sessional Test | 2nd | Practical No.-12 Students may be taken to various Sub-stations/Grid Stations for study the differential protection of transformer. (Group-II) |
| 13th | 1st | 2nd Sessional Test | 1st | Revision of any Practical (Group-1) |
|  | 2nd | UNIT V Over-Voltage Protection Causes of over voltages: Internal and external causes |  |  |
|  | 3rd | Types of lighting strokes. | 2nd | Revision of any Practical (Group-2) |
| 14th | 1st | Protection against Overvoltage and Lightning: | 1st | Revision of any Practical (Group-1) |
|  | 2nd | ground wire, earthing screen, surge diverters or lightning arresters. |  |  |
|  | 3rd | Types of Lightning arresters: rod gap, | 2nd | Revision of any Practical (Group-2) |
| 15th | 1st | Horn gap, metal oxide type. | 1st | Revision of any Practical (Group-1) |
|  | 2nd | 3rd t Sessional Test |  |  |
|  | 3rd | 3rd t Sessional Test | 2nd | Revision of any Practical (Group-2) |