Lesson Plan

Name of Faculty       :-                     DHARAM PAL

Designation		:-	           Sr. Lecturer

Discipline                   :-                    ELECTRICAL ENGINEERING

Semester                     :-	           5th

Subject                        :-                   POWER SYSTEM

Lesson Plan Duration:- 15 Week

Work load (Lecture/Practical) per week (60 minutes) : Lectures-03 , Practicals-00

| Week | Theory |  | Practical |  |
| --- | --- | --- | --- | --- |
| 1st | Lecture Day | Topic | Practical Day | Topic |
|  | 1st | Introduction about the syllabus of the subject & scope of the subject. |  |  |
|  | 2nd | Unit-I 1.1 Power Generation Main resources of energy, conventional and non-conventional |  |  |
|  | 3rd | Block diagram of Modern Thermal power station, description of each block, site selection, advantages & disadvantages. |  |  |
|  | 4th | Block diagram of Diesel power station, description of each block, site selection, advantages & disadvantages. |  |  |
|  | 5th | Block diagram of Nuclear power station, description of each block, site selection, advantages & disadvantages & nuclear materials. |  |  |
| 2nd | 1st | Basic elements of nuclear power plant and nuclear fuels. |  |  |
|  | 2nd | Operating costs, Comparison of different power plants as discussed above by considering various parameters. |  |  |
|  | 3rd | Revision of the above covered topic's of the two weeks. |  |  |
|  | 4th | 1.2 Economics of Generation Operating costs, Fixed cost, running costs & interconnection of different power plants & its advantages. |  |  |
|  | 5th | Definition of connected load, maximum demand, average load, load factor, utilization factor & plant capacity factor, load curve. |  |  |
| 3rd | 1st | Diversity factor, plant use factor, power factor & its effect on cost of generation. |  |  |
|  | 2nd | 1.3 Inter-connection of power stations and its advantages.Base load & peak load plants, concept of regional and national grid. |  |  |
|  | 3rd | Revision of the above covered topic's of previous week. |  |  |
|  | 4th | Unit-II Transmission Systems Layout of power system, Advantages of high transmission voltage. |  |  |
|  | 5th | Selection of transmission voltage, comparison of DC & AC system for power transmission. |  |  |
| 4th | 1st | Advantages & Disadvantages of high dc & ac transmission voltage. |  |  |
|  | 2nd | Comparison of conductor materials required for the different systems of transmission. |  |  |
|  | 3rd | Calculation of conductor size(Kelvin’s law), constructional features of transmission lines, Different types of conductor materials. |  |  |
|  | 4th | Line supports, wooden poles, steel poles, RCC poles steel towers. |  |  |
|  | 5th | Insulators, Pin type insulators, suspension, strain, shackle, stay or Egg type insulators. |  |  |
| 5th | 1st | Calculation of string efficiency of suspension type insulators & bundled conductors. |  |  |
|  | 2nd | Sag, Elements of sag, Calculation of sag. |  |  |
|  | 3rd | Effect of ice & wind loading on sag. Constants of transmission lines. |  |  |
|  | 4th | Resistance, inductance & capacitance of transmission lines. Skin effect, factors affecting the skin effect. |  |  |
|  | 5th | Inductance & capacitance of 1-phase & 3-phase transmission lines, proximity effect. |  |  |
| 6th | 1st | 1st Sessional test |  |  |
|  | 2nd | 1st Sessional test |  |  |
|  | 3rd | Transposition of conductors, classification of transmission lines, voltage regulation of a transmission lines. |  |  |
|  | 4th | Efficiency of a transmission lines, calculation of regulation & efficiency of 1-phase short transmission lines. |  |  |
|  | 5th | Effect of load power factor on voltage regulation & efficiency. |  |  |
| 7th | 1st | Revision of the above covered contents. |  |  |
|  | 2nd | Concept of corona. Effects of corona and remedial measures |  |  |
|  | 3rd | Distribution of voltage over string of insulators, calculation of string efficiency. |  |  |
|  | 4th | Methods to improve string efficiency. |  |  |
|  | 5th | Revision of the above covered contents. |  |  |
| 8th | 1st | Revision of the above covered contents. |  |  |
|  | 2nd | Unit-III Distribution Systems Lay out of HT and LT distribution system. |  |  |
|  | 3rd | Constructional feature of distribution lines and their erection. |  |  |
|  | 4th | Introduction about feeder, distributor & service mains. |  |  |
|  | 5th | Revision of the above covered contents. |  |  |
| 9th | 1st | Preparation of estimates of HT overhead distribution system. |  |  |
|  | 2nd | Preparation of estimates of LT overhead distribution system. |  |  |
|  | 3rd | Underground cables, advantages and disadvantages of underground system with respect to overhead system. |  |  |
|  | 4th | Classification of underground cables, requirements of cables & laying of UG cables. |  |  |
|  | 5th | Faults, classification of faults. |  |  |
| 10th | 1st | Faults in underground cables, Determine fault location by Murray Loop Test, Varley Loop Test. |  |  |
|  | 2nd | Calculation of losses in distribution system |  |  |
|  | 3rd | 2nd Sessional test |  |  |
|  | 4th | 2nd Sessional test |  |  |
|  | 5th | 2nd Sessional test |  |  |
| 11th | 1st | Unit-IV Substations Brief idea about substations; out door grid sub-station 220/132 KV, 66/33 KV |  |  |
|  | 2nd | Outdoor substations, pole mounted substations and indoor substation |  |  |
|  | 3rd | Layout & estimate of 33Kv/11Kv distribution substation and various auxiliaries and equipment associated with it. |  |  |
|  | 4th | Layout & estimate of 11Kv/400V distribution substation and various auxiliaries and equipment associated with it. |  |  |
|  | 5th | Revision of the above covered contents. |  |  |
| 12th | 1st | Unit-V Tariff and Power Factor Concept of tariff |  |  |
|  | 2nd | Types of tariff. |  |  |
|  | 3rd | Characteristics of Tariff. |  |  |
|  | 4th | Types of Consumers and their tariff. |  |  |
|  | 5th | Concept of power factor Reasons and disadvantages of low power factor |  |  |
| 13th | 1st | Methods for improvement of power factor using capacitor banks, VAR Static. |  |  |
|  | 2nd | Methods for improvement of power factor using synchronous condenser. |  |  |
|  | 3rd | Economics of improvement of power factor. Advantages of good power factor. |  |  |
|  | 4th | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
|  | 5th | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
| 14th | 1st | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
|  | 2nd | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
|  | 3rd | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
|  | 4th | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
|  | 5th | Clarification of doubts raised by the students about ant topic of the syllabus. |  |  |
| 15th | 1st | 3rd Sessional test |  |  |
|  | 2nd | 3rd Sessional test |  |  |
|  | 3rd | 3rd Sessional test |  |  |