## Slide 1
TRANSFORMERS

## Slide 2: Transformers
Very large three-phase network transformer.

## Slide 3: Transformer electromagnetic device (mutual induction)
1. components:
  -- 2 adjacent coils
  -- coils not physically connected to each other

## Slide 4: Transformer (cont.)
2. operation:
  a) AC in primary coil produces D B
  b) Secondary coil receives a D in I & V
N
S
N
S
N
S
N
S
N
S
N
S

## Slide 5: Transformers
Wye / Wye connection

## Slide 6: Transformers
Three-phase network supplies a load through a transformer.
Equivalent circuit of the wye-wye
Single-phase equivalent circuit for phase A of the three-phase wye-wye transformer system

## Slide 7
Wye / Delta connection

## Slide 8: Transformers
Wye-delta connected transformer

## Slide 9: Transformers
Single-phase equivalent circuit of a wye-delta transformer.

## Slide 10
Delta / Wye connection

## Slide 11
Delta / Delta connection

## Slide 12: Transformers
Transformer Connection | Primary and Secondary Voltage Phase Relation | Phase Shift* | Windings Placed on the Same Leg
Wye-Wye | VAN is in phase with Van | Zero | A and a
Wye-Delta | VAN is in phase with Vab | 30° | A and ab
Delta-Wye | VAB is in phase with Van | –30° | AB and a
Delta-Delta | VAB is in phase with Vab | Zero | AB and ab
* Note: Phase shift lead between line-to-line voltages, VAB and Vab, and line-to-neutral voltages, VAN and Van, and line currents, IA and Ia. |  |  | 
Three-phase Transformer Relations

## Slide 13: Transformer Turns Ratio
ratio of the # of turns in the secondary coil to the # of turns in the primary coil
numerical factor indicating relative change in PD across a transformer
  TR > 1 = éV (step up)
  TR < 1 = êV (step down)

## Slide 14: Transformer Law (change in voltage in a transformer)
D in V is directly proportional to the ratio of the # of turns in the secondary to the # of turns in the primary
Formula:
NS secondary coil turns NP primary coil turns
  VS secondary voltage
  VP primary voltage
  direct relationship

## Slide 15: Transformer Current
Current in a transformer will be inversely proportional to the TR of the transformer
formula:
IP primary coil current
IS secondary coil current
I vs. V = inverse relationship

## Slide 16: Types of Transformers
Based on TURNS RATIO
  2. step-down
    turns ratio < 1
    VS < VP
    IS > IP
  1. step-up
    turns ratio > 1
    VS > VP
    IS < IP

## Slide 17: Transformer Types (cont.) Based on STRUCTURE OF COILS
1. air core
  -- inside area of coil is empty
  -- inefficient induction
2. open core
  -- ferromagnetic material inside coils
  -- B = induction

## Slide 18: Transformer Types (cont.)
3. closed core
  -- ferromagnetic ends connected
  -- ­B = ­ induction
4. shell
  -- lazy square eight
  -- overlap of coils on same ferromagnetic core