## Sheet1
LESSON PLAN
Name of the faculty: |  | Dayanand (Lecturer, EE Deptt)
Discipline : |  | Electrical ENGG.
Semester : |  | 3RD
Subject : |  | ELECTRICAL MEASURMENT & INSTRUMENTATION
Lesson Plan Duration : |  | 15 weeks (from SEPT 2023 to JAN 2024)
Work load (Lecture/Practical) per week (60 minutes) : Lectures-03 , Practicals-04
Week | Theory |  | Practical
| Lecture day | Topic | Practical day | Topic
1st | 1st | Unit-1 Significance of measurement | 1st | Use of analog and digital multimeter for measurement of voltage, current (A.C/D.C) and resistance.
| 2nd | Type of measuring instruments, Methods of measurement
| 3rd | Errors in measurement, types of error |  | To measure the value of earth resistance using earth tester.
2nd | 4th | Classification of measuring instruments: indicating, recording and integrating instruments
| 5th | Essential requirement of indicating instruments | 2nd | To measure power, power factor in a single-phase circuit, using wattmeter and power factor meter and to verify results with calculations
| 6th | Methods of providing controlling torque
3rd | 7th | Methods of providing damping torque |  | Measurement of power and power factor of a three-phase balanced load by two wattmeter method
| 8th | Concept of Ammeter, voltmeter,differnce between ammeter & voltmeter
| 9th | Construction, working principle, merits, | 3rd | Measurement of voltage and frequency of a sinusoidal signal using CRO and draw wave shape of signal
4th | 10th | demerits and comparison of moving coil & moving iron instruments
| 11th | Extension of range and calibration of voltmeter and ammeter |  | Use of LCR meter for measuring inductance, capacitance and resistance
| 12th | Errors and compensation in ammeters & voltmeters
5th | 13th | UNIT II
Measurement of Power and Electrical Energy Introduction | 4th | To record all electrical quantities from the meters installed in the institution premises
| 14th | Construction, working principle, merits and demerits of dynamometer wattmeter |  | Calibration of single phase and three-phase energy meter
| 15th | Introduction to Digital wattmeter
6th | 16th | Active and reactive power measurement by , two and three wattmeter method
| 17th | Effect of Power factor on wattmeter reading in two wattmeter method | 5th | Use of Phase sequence indicator
| 18th | Maximum Demand indicator.
7th | 19th | Construction, working principle, merits and demerits of single-phase energy meter
| 20th | Construction, working principle, merits and demerits of three-phase energy meter
| 21st | Errors and compensations of energy meters | 6th | Measurement of pressure by using LVDT
8th | 22nd | calibration of energy meter using direct loading
| 23rd | Digital energy meter (diagram, construction and application).
| 24th | Revision
9th | 25th | Revision | 7th | To measure temperature using a thermo-couple
| 26th | UNIT III Measurement of other instruments Meggar, Earth tester
| 27th | multi-meter (analog and digital), Frequency meter (dynamometer type),
10th | 28th | single phase power factor meter
| 29th | Working principle of synchroscope and phase sequence indicator | 8th | To measure the strain using electrical strain gauge
| 30th | Construction, working and applications of CT and PT
11th | 31st | tong tester (Clamp-on meter), Study of LCR meters and their applications
| 32nd | Cathode Ray Oscilloscope: Block diagram, working principle of CRO and its various controls
| 33rd | Digital Storage Oscilloscope (DSO). | 9th | Study of earthing practices
12th | 34th | UNIT IV Transducre Introduction, Types of Transducers
| 35th | construction & principle of transducer-Potentiometer –variac and strain gauges
| 36th | transducer-Potentiometer –variac and strain gauges
13th | 37th | Sub-circuits, various accessories and parts of domestic electrical installation. | 10th | To measure the pH level using pH meter
| 38th | Identification of wiring systems. Common safety measures and earthing
| 39th | Electrical shock and precautions against shock
14th | 40th | Treatment of electric shock
| 41st | Concept of fuses and their classification, selection and application | 11th | Revision
| 42nd | Gauge factor, Types of strain gauges like unbonded, bonded and Semiconductor
15th | 43rd | Construction and principle of Inductive transducers-L.V.D.T. and R.V.D.T & their applications
| 44th | Piezoelectric transducer, photo conductive cells ,PV cells
| 45th | Photo-conductive cells, photo voltaic cells | 12th | Final Practical checking
16th | 46th | UNIT V Measurement of non electrical quantityTemperature measurement - Construction and Working of RTD
| 47th | Thermistor and thermocouple
| 48th | radiation pyrometer, technical specifications and ranges. Thermal imager camera
- | 49th | Pressure measurement – Construction and working of bourdon tube | 13th | Internal Practical Viva
| 50th | Bellow diaphragm strain gauge. Measurement of pH Level
Revision