## Sheet1
Lesson Plan
Name of Faculty : ARUN KUMAR
Discipline : Automobile
Semester : 3rd
Subject : BEEE
Lesson Plan Duration : 15 Weeks
Week | Theory
| Lecture Day | Topic
1st | 1st | CH-01: INTRODUCTION
| 2nd | Application and Advantage of Electricity Difference between ac and dc
| 3rd | various applications of electricity, advantages of electrical energy over other types of energy
2nd | 4th | CH-02. Basic Electrical Quantities Definition of voltage
| 5th | current, power and energy with their units
| 6th | name of instruments used for measuring above quantities, connection of these instruments in an electric circuit
3rd | 7th | CH-03. AC Fundamentals Electromagnetic induction-Faraday’s Laws, Lenz’s Law; Fleming’s rules
| 8th | Principles of a.c. Circuits; Alternating emf, Definition of cycle, frequency, amplitude and time period.
| 9th | Instantaneous, average, r.m.s and maximum value of sinusoidal wave; form factor and Peak Factor. Concept of phase and phase difference.
4th | 10th | Concept of resistance, inductance and capacitance in simple a.c. Circuit
| 11th | Power factor and improvement of power factor by use of capacitors. Concept of three phase system
| 12th | star and delta connections; voltage and current relationship (no derivation)
5th | 13th | Sessional Test -1
| 14th | CH-04: Transformers: Working principle
| 15th | construction of single phase transformer, transformer ratio,
6th | 16th | emf equation, losses and efficiency, cooling of transformers,
| 17th | isolation transformer, CVT, auto transformer (brief idea), applications.
| 18th | CH-5. Distribution System Difference between high and low voltage distribution system
7th | 19th | identification of three-phase wires, neutral wire .
| 20th | earth wire in a low voltage distribution system
| 21st | Identification of voltages between phases and between one phase and neutral.
8th | 22nd | Difference between three-phase and single-phase supply
| 23rd | CH-06. Electric Motor :
| 24th | Description of single-phase And three-phase motors
9th | 25th | applications of single-phase And three-phase motors.
| 26th | Connection and starting of three-phase induction motors by star-delta starter
| 27th | Changing direction of rotation of a given 3 phase induction motor.
10th | 28th | Motors used for driving pumps,
| 29th | compressors, centrifuge, dyers etc.
| 30th | Totally enclosed submersible and flame proof motors
11th | 31st | Sessional Test -2
| 32nd | 7. Domestic Installation (04 periods)
| 33rd | Distinction between light-fan circuit and
12th | 34th | single phase power circuit
| 35th | power circuit, sub-circuits,
| 36th | various accessories and parts of domestic electrical installation.
13th | 37th | Identification of wiring systems. Common safety measures and earthing
| 38th | CH08-. Electrical Safety :Electrical shock and precautions against shock, treatment of electric shock
| 39th | concept of fuses and their classification, selection and application,
14th | 40th | concept of earthing and various types of earthing, applications of MCBs and ELCBs
| 41st | CH-09: Basic Electronics :Basic idea of semiconductors
| 42nd | P and N type; diodes, zener diodes and their applications
15th | 43rd | transistor – PNP and NPN, their characteristics and uses.
| 44th | Characteristics and applications of a thyristor, characteristics and applications of stepper motors and servo motors in process control.
| 45th | Sessional test- 3